## Sheet1
Month | E_m | H(i)_m | SD_m | Days in the month | E_m: Average monthly electricity production from the defined system [kWh].
January | 529.3 | 12.4 | 86.2 | 31 | H(i)_m: Average monthly sum of global irradiation per square meter received by the modules
February | 1393.5 | 28.4 | 235.6 | 28 | of the given system [kWh/m2].
March | 3691.1 | 71.9 | 564 | 31 | SD_m: Standard deviation of the monthly electricity production due to year-to-year variation [kWh].
April | 6318.4 | 123.8 | 657.1 | 30
May | 7993.4 | 159.7 | 850 | 31
June | 8168.9 | 166.6 | 633.6 | 30
July | 7782.6 | 160.1 | 722.2 | 31
August | 6344 | 128.9 | 369.6 | 31
September | 4207.6 | 84.7 | 275.6 | 30
October | 2140.2 | 43.9 | 234.7 | 31
November | 690.7 | 15.8 | 106.3 | 30
December | 303 | 8.2 | 51.5 | 31
Month | Avg daily production | Both panel sets
January | 17.0742 | 34.1484
February | 49.7679 | 99.5357
March | 119.0677 | 238.1355
April | 210.6133 | 421.2267
May | 257.8516 | 515.7032
June | 272.2967 | 544.5933
July | 251.0516 | 502.1032
August | 204.6452 | 409.2903
September | 140.2533 | 280.5067
October | 69.0387 | 138.0774
November | 23.0233 | 46.0467
December | 9.7742 | 19.5484